# 40m Lattice Tower Maintenance & Inspection Log

# Island Installation Protocol - Marine Environment

## 1. General Inspection Information

| Tower ID / Asset Number: |  |
| --- | --- |
| Location / Island Name: |  |
| GPS Coordinates: |  |
| Inspection Date: | 2026-01-27 |
| Inspector Name(s): |  |
| Company / Organization: |  |
| Weather Conditions: | Temp (°C): ____, Wind (km/h, Dir): ____, Precipitation: ____, Sea State: ____ |
| Time On-Site / Off-Site: | ____ / ____ |

## 2. Pre-Inspection Safety & Environmental Briefing

This checklist must be completed before any work or climbing commences. The remote and marine nature of this site requires heightened safety and environmental awareness.

| Item | Check Point | Status | Comments / Observations | Action Taken |
| --- | --- | --- | --- | --- |
| 2.1 | Site Access Assessment (Tide, Sea Conditions, Landing Zone Safety) | PassFail |  |  |
| 2.2 | Emergency Action Plan (EAP) Review (Medevac, Communication Plan, First Aid) | PassFail |  |  |
| 2.3 | Personal Protective Equipment (PPE) Check (Climbing Harness, Lanyards, Helmet, Life Vests, Boots) | PassFail |  |  |
| 2.4 | Tools & Equipment Check (Torque Wrenches, Test Meters, Cleaning Supplies) | PassFail |  |  |
| 2.5 | Environmental Protection Measures (Spill Kits, Waste Containment) | PassFail |  |  |

## 3. Site & Foundation Inspection

Focus on impacts from the marine environment, including erosion, saltwater corrosion, and foundation stability.

| Item | Inspection Point | Status | Comments / Observations | Action Required / Taken |
| --- | --- | --- | --- | --- |
| 3.1 | Site Access Path / Landing Area | PassMonitorFailN/A |  |  |
| 3.2 | Perimeter Fence, Gate, and Signage | PassMonitorFailN/A |  |  |
| 3.3 | Ground Condition & Vegetation Control | PassMonitorFailN/A |  |  |
| 3.4 | Evidence of Coastal Erosion or Scouring near Foundation | PassMonitorFailN/A |  |  |
| 3.5 | Concrete Foundation Blocks/Piers | PassMonitorFailN/A |  |  |
| 3.6 | Anchor Bolts, Nuts, and Base Plates | PassMonitorFailN/A |  |  |
| 3.7 | Site Drainage | PassMonitorFailN/A |  |  |

## 4. Structural Integrity (Lattice Members & Connections)

A thorough visual and tactile inspection is required. Pay close attention to signs of corrosion, which is accelerated in marine environments.

| Item | Inspection Point | Status | Comments / Observations | Action Required / Taken |
| --- | --- | --- | --- | --- |
| 4.1 | Tower Plumb and Alignment | PassMonitorFailN/A |  |  |
| 4.2 | Main Leg Members | PassMonitorFailN/A |  |  |
| 4.3 | Horizontal and Diagonal Bracing | PassMonitorFailN/A |  |  |
| 4.4 | Bolts, Nuts, and Washers | PassMonitorFailN/A |  |  |
| 4.5 | Welded Connections | PassMonitorFailN/A |  |  |
| 4.6 | Surface Coating / Galvanization | PassMonitorFailN/A |  |  |
| 4.7 | Salt Crystal Accumulation | PassMonitorFailN/A |  | Action: Recommend freshwater washdown if feasible and necessary. |

## 5. Climbing & Safety Systems

Safety systems must be in perfect working order. Corrosion can severely compromise their integrity.

| Item | Inspection Point | Status | Comments / Observations | Action Required / Taken |
| --- | --- | --- | --- | --- |
| 5.1 | Climbing Ladder / Step Pegs | PassMonitorFailN/A |  |  |
| 5.2 | Vertical Safety Cable / Rail System | PassMonitorFailN/A |  |  |
| 5.3 | Safety System Anchor Points | PassMonitorFailN/A |  |  |
| 5.4 | Rest Platforms and Handrails | PassMonitorFailN/A |  |  |

## 6. Antenna, Coaxial Cable & Ancillary Systems

Inspect all mounted equipment for security and weather resistance, which are critical in high-wind, high-moisture environments.

| Item | Inspection Point | Status | Comments / Observations | Action Required / Taken |
| --- | --- | --- | --- | --- |
| 6.1 | Antenna Mounts and Hardware | PassMonitorFailN/A |  |  |
| 6.2 | Antenna Condition (Radomes, Seals) | PassMonitorFailN/A |  |  |
| 6.3 | Coaxial Cable / Waveguide Condition | PassMonitorFailN/A |  |  |
| 6.4 | Connector Weatherproofing | PassMonitorFailN/A |  |  |
| 6.5 | Cable Trays and Supports | PassMonitorFailN/A |  |  |

## 7. Grounding & Lightning Protection System

Essential for safety and equipment protection on an exposed island. The saline environment can impact both corrosion and grounding effectiveness.

| Item | Inspection Point | Status | Comments / Observations | Action Required / Taken |
| --- | --- | --- | --- | --- |
| 7.1 | Air Terminal / Lightning Rod | PassMonitorFailN/A |  |  |
| 7.2 | Down Conductors | PassMonitorFailN/A |  |  |
| 7.3 | Grounding Connections (Exothermic Welds, Lugs) | PassMonitorFailN/A |  |  |
| 7.4 | Ground Ring / Rods (Visible Portions) | PassMonitorFailN/A |  |  |
| 7.5 | System Resistance Test (if performed) | PassMonitorFailN/A |  |  |

## 8. Aviation Obstruction Lighting & Ancillary Equipment

| Item | Inspection Point | Status | Comments / Observations | Action Required / Taken |
| --- | --- | --- | --- | --- |
| 8.1 | Aviation Light Fixtures | PassMonitorFailN/A |  |  |
| 8.2 | Light Functionality (Day/Night Mode) | PassMonitorFailN/A |  |  |
| 8.3 | Equipment Shelter / Cabinets | PassMonitorFailN/A |  |  |
| 8.4 | Power Systems (Solar Panels, Generator, Batteries) | PassMonitorFailN/A |  |  |

## 9. Inspection Summary & Recommendations

Overall Tower Condition Assessment & Narrative Summary:

Overall Rating:  Select Rating Good - No significant issues found. Fair - Minor issues found, requires monitoring. Poor - Significant issues found, requires corrective action. Critical - Immediate action required to mitigate risk.

High-Priority Action Items Summary:

## 10. Inspector Sign-Off

Lead Inspector: Signature Name: _________________________ Date: _________________________

Reviewer / Supervisor: Signature Name: _________________________ Date: _________________________